Title: Robotic system approach for complete denture manufacturing

Author(s): Zhang YD, Zhao ZF, Lu PJ, Wang Y, Song RJ, Lu JL

Source: IEEE-ASME TRANSACTIONS ON MECHATRONICS 7 (3): 392-396 SEP 2002

Document Type: Article

Language: English

Cited References: 9      Times Cited: 0

Abstract: Although many medical robots such as surgical robots and nurse robots were developed, very few robots have been introduced in the field of oral restoration, especially in complete denture manufacturing. Until now, complete denture manufacturing has been manual, with low quality and low effectiveness. A robotic system for complete denture manufacturing, which can realize automatic implanting of artificial teeth, is described in this paper. The tooth arrangement algorithm is presented, including the equations of jaw-arch curve and teeth-arch curve, setup of a single tooth coordinate system and calculation of tooth position in teeth-arch curve. An expert system software is developed that integrates high-level dentist experiences and dexterous technician skills. Three-dimensional (3-D) display of tooth arrangement, human-computer interactive adjustment of tooth position and orientation in teeth-arch curve are achieved. Robot path planning and control data creation are realized by this software also. Finally, an experiment of complete denture manufacturing is made for a patient, a pair of complete dentures is obtained, and the results are analyzed. This robotic system is expected to change the manner of complete denture manufacturing wholly, and significantly improve product quality and manufacturing efficiency.

Author Keywords: automatic implanting; complete denture; manufacturing; robotic

KeyWords Plus: RECONSTRUCTION

Addresses: Zhang YD (reprint author), Harbin Univ Sci & Technol, Intelligent Machine Inst, Harbin, 150080 Peoples R China
Harbin Univ Sci & Technol, Intelligent Machine Inst, Harbin, 150080 Peoples R China
Beijing Inst Technol, Robot Res Ctr, Beijing, 100081 Peoples R China
Peking Univ, Sch Stomatol, Beijing, 100081 Peoples R China

Publisher: IEEE-INST ELECTRICAL ELECTRONICS ENGINEERS INC, 345 E 47TH ST, NEW YORK, NY 10017-2394 USA

Subject Category: ENGINEERING, ELECTRICAL & ELECTRONIC; ENGINEERING, MANUFACTURING; ENGINEERING, MECHANICAL; AUTOMATION & CONTROL SYSTEMS

IDS Number: 594DX

ISSN: 1083-4435